## Supply vs Demand
U.S. Electricity: Projected Demand vs. Projected Supply (2005–2030)
Chart data for: DataCenters_DemandVsSupply_Chart ¦ CRE42.com
Blue text = hardcoded inputs from cited source. Black text = formulas. See notes below table for supply methodology.
Year | EIA Actual (TWh) | McKinsey DC (TWh) | IEA Non-DC (TWh) | Projected Demand (McKinsey DC + IEA Non-DC, TWh) | Projected Supply (EIA Additions, CF-Adjusted, TWh) | Gap (TWh) | Base | Gap
2005 | 3587 |  |  | 3587 | 3587
2006 | 3600 |  |  | 3600 | 3600
2007 | 3694 |  |  | 3694 | 3694
2008 | 3649 |  |  | 3649 | 3649
2009 | 3538 |  |  | 3538 | 3538
2010 | 3612 |  |  | 3612 | 3612
2011 | 3578 |  |  | 3578 | 3578
2012 | 3574 |  |  | 3574 | 3574
2013 | 3582 |  |  | 3582 | 3582
2014 | 3612 |  |  | 3612 | 3612
2015 | 3626 |  |  | 3626 | 3626
2016 | 3631 |  |  | 3631 | 3631
2017 | 3662 |  |  | 3662 | 3662
2018 | 3770 |  |  | 3770 | 3770
2019 | 3718 |  |  | 3718 | 3718
2020 | 3621 |  |  | 3621 | 3621
2021 | 3793 |  |  | 3793 | 3793
2022 | 3856 |  |  | 3856 | 3856
2023 | 3967 | 147 | 3820 | 3967 | 3967
2024 | 4068 | 178 | 3890 | 4068 | 4068 |  | 4068 | 0
2025 |  | 224 | 3933 | 4157 | 4148 | 9 | 4148 | 9
2026 |  | 292 | 3977 | 4269 | 4233 | 36 | 4233 | 36
2027 |  | 371 | 4020 | 4391 | 4323 | 68 | 4323 | 68
2028 |  | 450 | 4063 | 4513 | 4405 | 108 | 4405 | 108
2029 |  | 513 | 4105 | 4618 | 4483 | 135 | 4483 | 135
2030 |  | 606 | 4147 | 4753 | 4560 | 193 | 4560 | 193
SUPPLY PROJECTION METHODOLOGY
The "Projected Supply" column is a CRE42 construction — not a single published forecast. It is built from EIA data as follows:
1. Start with actual 2024 generation (~4,068 TWh, EIA Electric Power Monthly).
2. Add planned capacity additions each year by fuel type (EIA STEO, January 2026).
3. Convert nameplate GW to deliverable TWh using fuel-specific capacity factors (see Capacity Factors tab).
4. Subtract TWh lost from scheduled retirements (same capacity factor method).
5. Each year: Supply = prior year + new TWh additions − TWh retirements.
Battery storage is excluded because it shifts load timing but does not add net generation.
Actual delivery could be higher (if permitting accelerates) or lower (if projects are delayed).
SOURCES
EIA Actual (Col B): U.S. Energy Information Administration, Electric Power Monthly. Historical total net generation.
McKinsey DC (Col C): McKinsey & Company, "AI's Power Binge," November 2024. U.S. DC: 147 TWh (2023) → 606 TWh (2030).
IEA Non-DC (Col D): IEA, Electricity 2025 & Mid-Year Update 2025. Non-DC U.S. demand baseline + growth estimates.
Supply Projection (Col F): CRE42 construction from EIA STEO (Jan 2026) planned additions, converted at fuel-specific capacity factors.

## DC Demand Forecasts
U.S. Data Center Electricity Consumption Forecasts
U.S.-only sources ¦ All figures in TWh ¦ Blue = direct citation; Yellow = converted from % or GW
Source | Report Date | Target Year | Baseline (TWh) | Low Est. New (TWh) | High Est. New (TWh) | Low Est. Total (TWh) | High Est. Total (TWh) | Basis
LBNL / DOE | Dec 2024 | 2028 | 176 | 149 | 404 | 325 | 580 | Direct citation. LBNL-2001637. Total U.S. DC electricity consumption.
IEA (U.S. subset) | Apr 2025 | 2030 | 183 | 240 | 240 | 423 | 423 | Direct. IEA Energy & AI report. U.S. subset: 183 TWh (2024) + ~240 TWh growth.
McKinsey & Co. | Nov 2024 | 2030 | 147 | 459 | 459 | 606 | 606 | Direct citation. McKinsey 'AI's Power Binge.' Single-point estimate.
EPRI | May 2024 | 2030 | 176 | 36 | 243 | 212 | 419 | Converted from 4.6%-9.1% of U.S. generation × ~4,600 TWh est. 2030 total.
Goldman Sachs | 2024-2025 | 2030 | 176 | 192 | 192 | 368 | 368 | Converted. GS: U.S. DC share → 8%+. 8% × ~4,600 TWh ≈ 368.
BCG (moderate) | 2023 | 2030 | 176 | 214 | 214 | 390 | 390 | Direct from BCG: ~390 TWh (~130 TWh in 2022 tripling to 7.5% by 2030).
EESI / BCG (extreme high) | 2025 | 2030 | 176 | 874 | 874 | 1050 | 1050 | OUTLIER. 130 GW at ~92% util = 1,050 TWh. WRI calls this extreme upper bound.
CHART DATA (Stacked Bar)
Source | Existing Baseline (TWh) | Base Case New (TWh) | Upside Range New (TWh)
LBNL / DOE (2028) | 176 | 149 | 255
IEA (U.S. subset) (2030) | 183 | 240
McKinsey & Co. (2030) | 147 | 459
EPRI (2030) | 176 | 36 | 207
Goldman Sachs (2030) | 176 | 192
BCG (moderate) (2030) | 176 | 214
EESI / BCG (extreme) (2030) | 176 | 874

## Capacity Factors
Capacity Factor Reference
Used to convert nameplate GW to deliverable TWh in the Supply vs Demand tab
Fuel Type | Capacity Factor | Meaning
Solar | 25% | Produces ~25% of maximum output on average (daylight, weather dependent)
Wind | 35% | Produces ~35% of maximum output on average (wind dependent)
Natural Gas (combined cycle) | 57% | Produces ~57% of maximum. Dispatched when needed, down for maintenance.
Natural Gas (peaker) | 12% | Runs only during peak demand hours. Very low average utilization.
Nuclear | 93% | Runs nearly around the clock. Highest capacity factor of any source.
Hydroelectric | 40% | Seasonal variation. Dependent on water availability.
Coal | 40% | Declining utilization as plants age and displaced by cheaper gas/renewables.

## GW to TWh Conversion
GW → TWh Conversion: Methodology & Sources
Standardizing data center forecasts from power capacity (GW) to energy consumption (TWh)
THE FORMULA
TWh = GW × 8,760 hours/year × Utilization Rate | At 50%: 1 GW = 4.38 TWh
At 60%: 1 GW = 5.26 TWh
At 70%: 1 GW = 6.13 TWh
SENSITIVITY TABLE
Utilization | TWh per GW | Context
40% | 3.504 | Older enterprise fleet
50% | 4.38 | LBNL standard (adopted for CRE42)
60% | 5.256 | Hyperscale-heavy future mix
70% | 6.132 | AI training clusters
PRIMARY SOURCE
LBNL / DOE (Dec 2024) | LBNL explicitly uses 50% average capacity utilization across ALL U.S. data centers. Their report states: "Assuming an average capacity utilization rate of 50%, this annual energy use range would translate to a total power demand for data centers between 74 and 132 GW." This maps 325-580 TWh → 74-132 GW at 50%.
CAVEAT
As the DC mix shifts toward hyperscale/AI (higher utilization), the blended rate may drift toward 55-60% by 2030. This would mean GW-based estimates convert to HIGHER TWh than our 50% factor suggests. We flag this but use 50% for consistency with LBNL.

## Sources
Source Documentation
Sources used on the Data Center Power Demand vs. U.S. Grid Capacity page
Source | On Chart? | Geography | Primary Metric | Why Included / Excluded | Full Citation
LBNL / DOE | YES | U.S. only | TWh | Gold standard. U.S. government-sponsored, bottom-up model. | Shehabi et al., 2024 United States Data Center Energy Usage Report, LBNL-2001637, Dec 2024
IEA | YES (U.S. subset) | Global with U.S. breakout | TWh | Reports U.S. separately: 183 TWh (2024), ~240 TWh growth to 2030 ≈ ~423 TWh. | IEA, Energy and AI Special Report, April 2025
McKinsey & Co. | YES | U.S. only | TWh + GW | Publishes both TWh (606) and GW (80+) for U.S. | McKinsey, 'AI's Power Binge,' Nov 2024; 'Scaling Bigger, Faster, Cheaper Data Centers,' Aug 2025
EPRI | YES (converted) | U.S. only | % of generation | Converted from 4.6%-9.1% → 212-419 TWh. | EPRI, 'Powering Intelligence,' May 2024
Goldman Sachs | YES (converted) | U.S. breakout | GW / % | U.S. DC share → 8%+. Converted: 8% × 4,600 ≈ 368 TWh. | Goldman Sachs Research, 'Data Center Power Demand: The 6 Ps,' 2024-2025
BCG | YES (converted) | U.S. only | % of electricity | Moderate: 2.5% → 7.5% (~130→~390 TWh). | BCG, cited in LBNL-2001637 p.11 (Lee 2023)
EESI | YES (outlier) | U.S. only | GW and TWh | Upper bound: 130 GW / 1,050 TWh. Widely considered extreme. | EESI, 'Data Center Energy Needs Could Upend Power Grids,' 2025
EXCLUDED SOURCES
451 Research (S&P Global) | NO | North America | TWh (NA) | Reports North America (755 TWh by 2030), not U.S. | 451 Research via S&P Global, Nov 2025
JLL | NO | Global / Americas | GW (capacity) | Reports global capacity (103→200 GW). No U.S. TWh forecast. | JLL, 2026 Global Data Center Outlook
CBRE | NO | North America | MW / vacancy | Market data provider, not demand forecaster. | CBRE North America Data Center Trends H1 2025
Cushman & Wakefield | NO | U.S. only | Cost data | Cost benchmarking provider. No forward demand forecast. | Cushman & Wakefield, U.S. Data Center Development Cost Guide 2025